## Slide 1
Chaos-Informed Forecaster — Lorenz Validation
02
Ibrahim Hanafy
Architecture: Chaos-Informed NGRC–TCN Encoder–Decoder
Validation on Lorenz Chaotic System
• Deterministic, noise-free system with known Lyapunov exponent
• Cleanly isolates whether the architecture can learn chaotic dynamics
• Phase-space reconstruction (PSR) + NGRC nonlinear feature expansion
Results
• R² = 0.996 at 0.23 Lyapunov times (short-range)
• R² = 0.954 at 1 full Lyapunov time (long-range)
• Shuffled-target control: R² = −0.005 — confirmed no data leakage
• Recursive (closed-loop) forecasting tested successfully
Key Finding: Input-Length Ablation
• Reducing input window from 540 → 64 time steps
R² at 1λt jumped from 0.34 → 0.96
• Shorter input removes redundant attractor orbits, improves focus
Next Step
• Tuning and testing this architecture on real ECG signals
• Adapting chaos-informed features to stochastic biomedical data

## Slide 2
TCN Multi-Step ECG Forecasting — MIT-BIH
02
Ibrahim Hanafy
Dataset: 21 MIT-BIH patients (excl. 111 & 118) | Horizons: H = 1, 10, 15, 20 | Multi-Output (MIMO)
Configuration Comparison: Ours vs Paper (Dudukcu 2023)
• Paper: 1 residual block, 256 filters, batch 128
• Ours: 3 residual blocks, 64 filters, batch 256
• Deeper network with smaller filters → better generalization
• Our config outperforms paper across all horizons and all metrics
H |  | RMSE | MAE | R²
1 | Paper | .0061 | .0037 | .9952
 | Ours | .0052 | .0036 | .9970
10 | Paper | .0344 | .0148 | .8776
 | Ours | .0304 | .0134 | .8991
15 | Paper | .0471 | .0200 | .7847
 | Ours | .0433 | .0185 | .8108
20 | Paper | .0571 | .0253 | .6894
 | Ours | .0539 | .0236 | .7157
Overall Mean (21 patients)
• Ours: RMSE = 0.0332 | MAE = 0.0148 | R² = 0.856
• Paper: RMSE = 0.0362 | MAE = 0.0160 | R² = 0.837
• Improvement: −8.3% RMSE, −7.5% MAE, +2.3% R²
Future Work
• Hyperparameter optimization: Optuna TPE with pruning + Grey Wolf Optimizer (GWO) comparison
• Extend evaluation to additional patient populations and longer horizons